## Calculator
MyEngineeringTools.com
Aqua-Ammonia Absorption Cycle Performance Calculator
1. INPUT PARAMETERS
Cooling Load (Qe) | 100 | kW
Evaporator Inlet Enthalpy (he_in) | 145 | kJ/kg
Evaporator Outlet Enthalpy (he_out) | 1460 | kJ/kg
Strong Solution Concentration (xs) | 0.35 | dimensionless
Weak Solution Concentration (xw) | 0.25 | dimensionless
Vapor Concentration (y) | 0.98 | dimensionless
Strong Solution Enthalpy (hs) | 300 | kJ/kg
Weak Solution Enthalpy (hw) | 450 | kJ/kg
Refrigerant Vapor Enthalpy (hr_out) | 1650 | kJ/kg
2. ENGINEERING OUTPUT
Refrigerant Mass Flow Rate (mr) |  | kg/s
Circulation Ratio (f) |  | dimensionless
Strong Solution Flow (ms) |  | kg/s
Weak Solution Flow (mw) |  | kg/s
Generator Heat Input (Qg) |  | kW
Coefficient of Performance (COP) |  | dimensionless
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational and preliminary estimation purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.