## Calculator
MyEngineeringTools.com
First Order System Response Calculation
1. INPUT PARAMETERS
Density (rho) | 8000 | kg/m³
Specific Heat (c) | 500 | J/kg·K
Thermal Conductivity (k) | 16 | W/m·K
Outside Diameter (D) | 0.006 | m
Immersion Length (L) | 0.05 | m
Convection Coefficient (h) | 400 | W/m²·K
Target Response Percentage (P) | 0.98 | decimal
2. ENGINEERING OUTPUT
Wetted Volume (V) |  | m³
Wetted Surface Area (A) |  | m²
Characteristic Length (Lc) |  | m
Biot Number (Bi) |  | dimensionless
Time Constant (tau) |  | s
Response Time (tp) |  | s
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational and preliminary estimation purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.