## Calculator
MyEngineeringTools.com
Heat Exchanger Duty and Sizing Calculator
1. INPUT PARAMETERS
Mass Flow Rate (m_dot) | 0.5 | kg/s
Specific Heat Capacity (cp_water) | 4180 | J/(kg·K)
Inlet Temperature (t_in) | 20 | °C
Outlet Temperature (t_out) | 72 | °C
Log Mean Temperature Difference (delta_t_lm) | 15 | °C
Inner Heat Transfer Coefficient (h_i) | 2500 | W/(m²·K)
Outer Heat Transfer Coefficient (h_o) | 1200 | W/(m²·K)
Inner Tube Radius (r_i) | 0.01 | m
Outer Tube Radius (r_o) | 0.012 | m
Thermal Conductivity of Tube Material (k_tube) | 16 | W/(m·K)
2. ENGINEERING OUTPUT
Heat Duty (Q) |  | W
Overall Heat Transfer Coefficient (U) |  | W/(m²·K)
Required Surface Area (A) |  | m²
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.