## Calculator
MyEngineeringTools.com
Heat Recovery from Refrigeration
1. INPUT PARAMETERS
Heat Load (Q) | 500 | kW
Condensing Temperature (Tcond) | 35 | °C
Water Inlet Temperature (Tw_in) | 15 | °C
Water Outlet Temperature (Tw_out) | 30 | °C
Specific Heat of Water (cp_w) | 4.18 | kJ/(kg·K)
Overall Heat Transfer Coefficient (U) | 1500 | W/(m²·K)
Latent Heat of Vaporization (hfg) | 1140 | kJ/kg
2. ENGINEERING OUTPUT
Water Mass Flow Rate (m_w) |  | kg/s
Water Volumetric Flow Rate (m_w_vol) |  | L/min
Logarithmic Mean Temperature Difference (dT_lm) |  | °C
Heat Transfer Area (A) |  | m²
Refrigerant Mass Flow Rate (m_r) |  | kg/s
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.